## Sheet1
New or Upgraded Transmission Facilities in EIPC 2028 Roll-Up Cases
Includes ALL new/upgraded facilities (161 kV and above) that are projected to be in-service by 2028
PA | States | From Bus # | From Bus Name | To Bus # | To Bus Name | Ckt | Voltage (kV) | Line Length (miles) | In-Service Date | Planning Status | Project Type | Project Description | New Line?
ISO-NE | CT | 119012 | NU_341_NGR 345.00 | 119051 | LAKE ROAD 345.00 | 1 | 345 | 7.5 | 2015-12-01 | Construction | Reliability | New 345 kV line 341, Lake Road to CT/RI border West Farnum with 2-1590 ACSS conductor
Duke Carolinas | NC | 308587 | 6ORCHARD | 306442 | 6LONGVW | 1 | 230 | 13 | 2020 | Planned | Reliability | New 230/100 kV station (Orchard Tie) to serve load | Yes
Duke Carolinas | NC | 308587 | 6ORCHARD | 306442 | 6LONGVW | 2 | 230 | 13 | 2020 | Planned | Reliability | New 230/100 kV station (Orchard Tie) to serve load | Yes
Duke Carolinas | NC | 306441 | 6LINCOLN | 308587 | 6ORCHARD | 1 | 230 | 20 | 2020 | Planned | Reliability | New 230/100 kV station (Orchard Tie) to serve load | Yes
Duke Carolinas | NC | 306441 | 6LINCOLN | 308587 | 6ORCHARD | 2 | 230 | 20 | 2020 | Planned | Reliability | New 230/100 kV station (Orchard Tie) to serve load | Yes
Duke Carolinas | NC | 3067151 | 6BREMC 6 | 309365 | WILKES 2 | 1 | 230 |  | 2020 | Planned | Reliability | Add 230/100 kV bank
Duke Carolinas | NC | 306714 | 6BELEWS | 306826 | 6ERNEST2 | 1 | 230 | 14 | 2021 | Planned | Reliability | Reconductor
Duke Carolinas | NC | 306714 | 6BELEWS | 306827 | 6ERNEST1 | 1 | 230 | 14 | 2021 | Planned | Reliability | Reconductor
Duke Carolinas | NC | 309742 | 6SADLERWX | 308656 | 5SADLER | 1 | 230 |  | 2021 | Planned | Reliability | Add 2% reactor
Duke Carolinas | NC | 309743 | 6SADLERBX | 308656 | 5SADLER | 1 | 230 |  | 2021 | Planned | Reliability | Add 2% reactor
Duke Carolinas | NC | 308656 | 5SADLER | 306790 | SADLER | 2 | 230 |  | 2021 | Planned | Reliability | Add 3rd 230/100 kV bank
DEP | NC | 304524 | 6JACKSON230T | 304518 | 6GRANTSCRK23 | 1 | 230 | 12 | 2020 | Planned | Reliability | New Jacksonville-Grants Creek 230kV line | Yes
DEP | NC | 304518 | 6GRANTSCRK23 | 304519 | 3GRANTSCRK11 | 1 | 230/115 | N/A | 2020 | Planned | Reliability | New Grants Creek 230/115kV, 300 MVA transformer
DEP | NC | 304546 | 6NEWPORT | 304547 | 6HARLOWE230T | 1 | 230 | 10 | 2020 | Planned | Reliability | New Newport-Harlowe 230kV line | Yes
DEP | NC | 304547 | 6HARLOWE230T | 304548 | 3HARLOWE115TT | 1 | 230/115 | N/A | 2020 | Planned | Reliability | New Harlowe 230/115kV, 300 MVA transformer
DEF | FL | 403530 | WILLISTON NO | 403427 | WILLISTON | 1 | 230/69 | N/A | 2022 | Planned | Reliability | Williston 230/69 kV transformer
DEF | FL | 403530 | WILLISTON NO | 403173 | BRONSON DUKE | 1 | 230 | 15 | 2022 | Planned | Reliability | Williston-Bronson 230 kV Line | Yes
DEF | FL | 403526 | POWERLINE | 403467 | POWERLINE | 2 | 230/115 | N/A | 2021 | Planned | Reliability | Crystal River East 230/115 #2 transformer
DEF | FL | 402075 | DONA VISTA | 402054 | DONA VISTA | 1 | 230/69 | N/A | 2019 | Planned | Reliability | Dona Vista 230/69 kV transformer
DEF | FL | 403701 | DISSTON | 403702 | 40 STREET | 1 | 230 | 7 | 2024 | Planned | Reliability | Disston-40th Street 230 kV Line | Yes
DEF | FL | 403520 | MONDON HILL | 403489 | MONDON HILL | 1 | 230/115 | N/A | 2022 | Planned | Reliability | Brooksville 230/115 kV transformer
DEF | FL | 403520 | MONDON HILL | 403519 | BROOKSVL W | 1 | 230 | 5 | 2022 | Planned | Reliability | Brooksville-Brooksville West 230 kV Line | Yes
JEA | FL | 404953 | GEC | 404855 | NOCATEE | 1 | 230 | 4.4 | 2020 | Planned | Multi-Value | New line to connect new Nocatee substation for load growth and reliability | Yes
JEA | FL | 404855 | NOCATEE | 404612 | BARTRAM | 1 | 230 | 4.4 | 2020 | Planned | Multi-Value | New line to connect new Nocatee substation for load growth and reliability | Yes
LGEE | KY | 324010 | 7TRIMBL REAC | 248000 | 06CLIFTY | 1 | 345 | 0 | 2019-04-26 | Completed | Reliability | New 345kV reactor at Trimble County
LGEE | KY | 324106 | 7HARDIN CO | 324261 | 4HARDIN CO | 2 | 345/138 | N/A | 2023-01-01 | Planned | Reliability | New 450MVA, 345/138 kV transformer at Hardin County
LGEE | KY | 324101 | 7BLUE LICK | 324134 | 5BLUE LICK | 1 | 345/161 | N/A | 2021-01-01 | Planned | Reliability | 450MVA, 345/161 kV transformer at Blue Lick, Transformer Replacement
LGEE | KY | 324116 | 7W LEXINGTON | 324320 | 4W LEXINGTON | 2 | 345/138 | N/A | 2022-01-01 | Planned | Reliability | New 450 MVA, 345/138 kV transformer at West Lexington
NYISO | NY | 135000 | Dysinger | 130756 | East Stolle | 1 | 345 | 20 | 2022 | OH | Public Policy | Western NY - Empire State Line Project | Yes
NYISO | NY | 125000 | Hurley Avenue | 137451 | Leeds | 1 | 345 | Series Compensation | 2020 | - | Reliability | 21% Compensation
NYISO | NY | 126275 | East 13th Street | 126867 | East 13th Street | 1 | 345/138 | xfmr | 2019 | - | Reliability | Replacing xmfr 10
NYISO | NY | 126275 | East 13th Street | 126868 | East 13th Street | 1 | 345/138 | xfmr | 2019 | - | Reliability | Replacing xmfr 11
NYISO | NY | / | East 13th Street | / | East 13th Street | / | 345 | Reconfiguration | 2019 | - | Reliability | Reconfiguration of Station, Breakers,etc.
NYISO | NY | 126287 | Gowanus | 126427 | Gowanus | 1 | 345/138 | xfmr | 2019 | - | Reliability | Replacing xfmr T2
NYISO | NY | 135412 | Elm St | 135587 | Elm St | 2 | 230/23 | xfmr | 2018 |  | Reliability | Add a fourth 230/23kV transformer
NYISO | NY | / | Huntley 230kV | / | Huntley 230kV | / | 230 | - | 2020 |  | Reliability | Rebuild of Huntley 230kV Station
NYISO | NY | 135413 | Gardenville 230kV | 135450 | Gardenville 115kV | 3 | 230/115 | xfmr | 2021 |  | Reliability | Replacement of 230/115kV TB#4 stepdown with larger unit
NYISO | NY | / | Porter | / | Porter | / | 230 | - | 2022 |  | Reliability | Porter 230kV BPS upgrades
NYISO | NY | 147827 | Marcy 765 | 147833 | Marcy 345 | 2 | 765/345 | xfmr | 2018 | - | Reliability | Install the Marcy Auto Transformer 1(AT1) spare phase to Marcy AT2
NYISO | NY | 147834 | Niagara | 149000 | Rochester | 1 | 345 | -70.2 | 2020 | OH | Public Policy | 2-795 ACSR,Remove existing circuit for new station
NYISO | NY | 130754 | Somerset | 149000 | Rochester | 1 | 345 | -44 | 2020 | OH | Public Policy | 2-795 ACSR,Remove existing circuit for new station
NYISO | NY | 147834 | Niagara | 149690 | Station 255 (New Station) | 1 | 345 | 66.4 | 2020 | OH | Public Policy | 2-795 ACSR | Yes
NYISO | NY | 130754 | Somerset | 149690 | Station 255 (New Station) | 1 | 345 | 40.2 | 2020 | OH | Public Policy | 2-795 ACSR | Yes
NYISO | NY | 149690 | Station 255 (New Station) | 149000 | Rochester | 1 | 345 | 3.8 | 2020 | OH | Public Policy | 2-795 ACSR | Yes
NYISO | NY | 131122 | Wethersfield | 130764 | Meyer | 1 | 230 | -31.5 | 2018 | OH | Reliability | 795 ACSR,Remove existing circuit for new station
NYISO | NY | 130861 | South Perry | 130764 | Meyer | 1 | 230 | 20 | 2018 | OH | Reliability | 795 ACSR | Yes
NYISO | NY | 131122 | Wethersfield | 130861 | South Perry | 1 | 230 | 11.5 | 2018 | OH | Reliability | 795 ACSR | Yes
NYISO | NY | 130861 | South Perry | 131345 | South Perry | 1 | 230/115 | xfmr | 2018 | - | Reliability | Transformer
NYISO | NY | 130757 | Watercure Road | 130768 | Watercure Road | 1 | 345/230 | xfmr | 2019 | - | Reliability | Transformer #2 and Station Reconfiguration
NYISO | NY | 130762 | Gardenville | 130806 | Gardenville | 3 | 230/115 | xfmr | 2019 | - | Reliability | NYSEG Transformer #3 and Station Reconfiguration
NYISO | NY | 130755 | Oakdale 345 | 130838 | Oakdale 115 | 2 | 345/115 | xfmr | 2021 |  | Reliability | Transformer #3 and Station Reconfiguration
NYISO | NY | 130753 | Fraser | 130805 | Fraser | 2 | 345/115 | xfmr | 2021 |  | Reliability | Transformer #2 and Station Reconfiguration
NYISO | NY | 130750 | Coopers Corners | 130790 | Coopers Corners | 3 | 345/115 | xfmr | 2022 |  | Reliability | Transformer #3 and Station Reconfiguration
NYISO | NY | 130877 | Wood Street | 130865 | Wood Street | 1 | 345/115 | xfmr | 2022 |  | Reliability | Transformer #3
NYISO | NY | 126290 | Ladentown | 126263 | Buchanan | 1 | 345 | -9.5 | 2021 | OH | Reliability | 2-2493 ACAR,Remove existing circuit for new station
NYISO | NY | 126290 | Ladentown | 146874 | Lovett 345 kV Station (New Station) | 1 | 345 | 5.5 | 2021 | OH | Reliability | 2-2493 ACAR | Yes
NYISO | NY | 146874 | Lovett 345 kV Station (New Station) | 126263 | Buchanan | 1 | 345 | 4 | 2021 | OH | Reliability | 2-2493 ACAR | Yes
NYISO | NY | 146874 | Lovett 345 kV Station (New Station) | 146766 | Lovett | 1 | 345/138 | xfmr | 2021 | - | Reliability | Transformer
NYISO | NY | 149001 | Station 122-Pannell-PC1 | 136150 | Station 122-Pannell-PC1 and PC2 | 1 | 345 |  | 2019 |  | Reliability | Relay Replacement
NYISO | NY | 149690 | Station 255 (New Station) | 149000 | Rochester | 1 | 345 | 3.8 | 2020 | OH | Reliability | 2-795 ACSR | Yes
NYISO | NY | 149690 | Station 255 (New Station) | 149693 | Station 255 (New Station) | 1 | 345/115 | xfmr | 2020 | - | Reliability | Transformer
NYISO | NY | 149690 | Station 255 (New Station) | 149693 | Station 255 (New Station) | 2 | 345/115 | xfmr | 2020 | - | Reliability | Transformer
PJM | NJ | 206244 | 28MONTVILE | 206257 | 28WHIPPANY | 1 | 230 |  | 2020-12-31 | Planned | Reliability | Construct a Whippany to Montville 230 kV line (6.4 miles) | Yes
PJM | VA | 314052 | 6IDYLWOD | 314087 | 6TYSONS | 1 | 230 |  | 2022-06-01 | Planned | Reliability | Construct a 230kV UG line approx. 4.5 miles from Idylwood to Tysons. Tysons Substation will be rebuilt, within its existing footprint, with a 6-breaker ring bus using GIS equipment. | Yes
PJM | NJ | 227900 | CARDIFF | 228002 | ORCHARD | 1 | 230 |  | 2019-05-15 | Construction | Reliability | New Orchard - Cardiff 230 kV line (remove, rebuild and reconfigure existing 138 kV line) and associated substation upgrades, environmental work
PJM | PA | 200708 | 26OXBOW | 208009 | LACK | 1 | 230 |  | 2020-05-15 | Construction | Reliability | Reconductor the North Meshoppen – Oxbow - Lackawanna 230 kV circuit and upgrade terminal equipment (PENELEC portion)
PJM | PA | 208009 | LACK |  |  |  | 230 |  | 2020-05-15 | Planned | Reliability | Lackawanna 230 kV Yard: Upgrade Oxbow terminal equipment
PJM | DE ,NJ | 232012 | HOPE CREEK | 232014 | LSP | 1 | 230 |  | 2020-06-01 | Construction | Reliability | Artificial Island Solution | Yes
PJM | VA | 314907 | 8DOOMS | 314910 | 8CUNINGHAM | 1 | 500 |  | 2019-06-01 | Construction | Reliability | Rebuild the Cunningham - Dooms 500 kV line
PJM | IN | 243217 | 05DEQUIN | 243878 | 05MEADOW | 1 | 345 |  | 2020-06-01 | Planned | Reliability | Reconductor Dequine - Meadow Lake 345 kV circuit #1 utilizing dual 954 ACSR 54/7 cardinal conductor
PJM | VA | 314080 | 6REMNGTN | 314758 | 6GORDNVL | 1 | 230 |  | 2020-06-01 | Planned | Reliability | Build a 230 kV line from Remington Substation to Gordonsville Substation utilizing existing ROW | Yes
PJM | IL | 270828 | NELSON ; B | 270867 | QUAD 8-10 |  | 345 |  | 2019-06-01 | Construction | Reliability | Replace station equipment at Nelson, ESS H-471 and Quad Cities
PJM | IL | 270828 | NELSON ; B | 270890 | ESS H471 ; | 1 | 345 |  | 2019-06-01 | Construction | Reliability | Upgrade conductor ratings of Cordova - Nelson, Quad Cities - ESS H-471 and ESS H-471 - Nelson 345 kV lines and mitigating sag limitations
PJM | NJ | 217134 | BAYWAY |  |  |  | 345 |  | 2018-12-01 | Construction | Reliability | Install two 100 MVAR reactors (variable) at Bayway 345 kV
PJM | VA | 314133 | 6LIBERTY | 314171 | 6BRAMBL | 1 | 230 |  | 2019-12-01 | Planned | Reliability | Optimal Capacitors Configuration: New 175 MVAR 230 kV capacitor bank at Brambleton substation, new 175 MVAR 230 kV capacitor bank at Ashburn substation, new 300 MVAR 230 kV capacitor bank at Shelhorn substation, new 150 MVAR 230 kV capacitor bank at Liberty substation.
PJM | VA | 314225 | 6CHARCTY | 314227 | 6LAKESIDE | 1 | 230 |  | 2020-06-01 | Planned | Reliability | Rebuild 21.32 miles of existing line between Chesterfield - Lakeside 230 kV
PJM | PA | 200016 | 3 MILE I | 270072 | FUR RUN | 1 | 500 |  | 2020-11-01 | Planned | Reliability | Tap the Peach Bottom – TMI 500 kV line & create new Furnace Run 500 kV & 230 kV stations. Install two 500/230 kV transformers, operated together.
PJM | VA | 314907 | 8DOOMS | 314926 | 8VALLEY | 1 | 500 |  | 2020-06-15 | Planned | Reliability | Rebuild Line #549 Dooms – Valley 500kV
PJM | VA | 314917 | 8MT STM | 314926 | 8VALLEY | 1 | 500 |  | 2021-12-30 | Planned | Reliability | Rebuild Line #550 Mt. Storm – Valley 500kV
PJM | MD | 200004 | CNASTONE | 200064 | PCHBTM1S | 1 | 500 |  | 2020-06-01 | Planned | Reliability | Upgrade substation equipment at Conastone 500 kV (on the Peach Bottom – Conastone 500 kV circuit) to increase facility rating to 2826 MVA normal and 3525 MVA emergency
PJM | IN | 243217 | 05DEQUIN | 243878 | 05MEADOW | 2 | 345 |  | 2020-08-10 | Planned | Reliability | Reconductor the entire Dequine - Meadow Lake 345 kV circuit #2
PJM | IN | 243217 | 05DEQUIN | 243221 | 05EUGENE | 1 | 345 |  | 2020-08-10 | Planned | Reliability | Reconductor the entire Dequine - Eugene 345 kV circuit #1
PJM | NJ | 217061 | KEARNY |  |  |  | 230 |  | 2019-05-01 | Planned | Reliability | Install 2X50 MVAR shunt reactors at Kearny 230 kV substation
PJM | NJ | 217000 | HUDSN1-10 |  |  |  | 230 |  | 2018-11-16 | Construction | Reliability | Increase the size of the Hudson 230 kV, 2X50 MVAR shunt reactors to 2X100 MVAR
PJM | NJ | 217134 | BAYWAY |  |  |  | 345 |  | 2018-12-01 | Construction | Reliability | Install 2X100 MVAR shunt reactors at Bayway 345 kV substation
PJM | NJ | 217958 | LINDEN |  |  |  | 345 |  | 2018-12-31 | Planned | Reliability | Install 2X100 MVAR shunt reactors at Linden 345 kV substation
PJM | IN ,KY ,OH | 243233 | 05TANNER | 249567 | 08M.FORT | 1 | 345 |  | 2021-06-01 | Planned | Reliability | Upgrade Tanner Creek to Miami Fort 345 kV line (AEP portion)
PJM | IN ,KY ,OH | 243233 | 05TANNER | 249567 | 08M.FORT | 1 | 345 |  | 2021-06-01 | Planned | Reliability | Rebuild the Tanner Creek – Miami Fort 345kV line (DEOK portion)
PJM | OH ,WV | 242528 | 05SPORN | 248005 | 06KYGER | 1 | 345 |  | 2019-06-01 | Planned | Reliability | Six wire the Kyger Creek - Sporn 345 kV circuits #1 and #2 and convert them to one circuit
PJM | OH | 242935 | 05E LIMA | 246929 | 05MADDOX | 1 | 345 |  | 2021-12-01 | Planned | Reliability | Reconductor the Maddox Creek - East Lima 345 kV circuit with 2-954 ACSS Cardinal conductor
PJM | NJ | 218304 | BRUNSWCK | 218352 | MDWRD | 1 | 230 |  | 2020-06-01 | Planned | Reliability | Convert the R-1318 and Q1317 (Edison – Metuchen) 138 kV circuits to one 230 kV circuit
PJM | NJ | 218304 | BRUNSWCK | 219243 | PLAINSBR | 1 | 230 |  | 2021-12-31 | Planned | Reliability | Convert the N-1340 and T-1372/D-1330 (Brunswick – Trenton) 138 kV circuits to 230 kV circuits
PJM | NC ,VA | 314537 | 6SUFFOLK | 314648 | 6SUNBURY | 1 | 230 |  | 2022-12-30 | Planned | Reliability | Rebuild 230kV line #247 from Swamp to Suffolk (31 miles) to current standards with a summer emergency rating of 1047 MVA at 230kV.
PJM | KY | 314481 | 6LANDSTN | 314502 | 6STUMPY | 1 | 230 |  | 2020-12-01 | Planned | Reliability | Rebuild 230kV Line #231 to current standard with a summer emergency rating of 1046 MVA. Proposed conductor is 2-636 ACSR.
PJM | VA | 314286 | 6CHESTF A | 314303 | 6HOPEWLL | 1 | 230 |  | 2020-12-01 | Planned | Reliability | Rebuild 8 of 11 miles of 230kV Lines #211 and #228 to current standard with a summer emergency rating of 1046 MVA for rebuilt section. Proposed conductor is 2-636 ACSR.
PJM | NC | 313713 | 6SWAMP | 314651 | 6WINFALL | 1 | 230 |  | 2022-12-30 | Planned | Reliability | Rebuild 230kV Line #2144 from Winfall to Swamp (4.3 miles) to current standards with a standard conductor (bundled 636 ACSR) having a summer emergency rating of 1047 MVA at 230kV.
PJM | IL | 270853 | PONTIAC ; R |  |  |  | 345 |  | 2021-06-01 | Planned | Reliability | Upgrade substation equipment at Pontiac Midpoint station to increase capacity on Pontiac-Brokaw 345 kV line.
PJM | PA | 200930 | 26MAINESBURG |  |  |  | 345 |  | 2019-05-31 | Planned | Reliability | Install two 345 kV 80 MVAR shunt reactors at Mainesburg station
PJM | NJ | 217122 | ALDENE | 218316 | WARINICO | 1 | 230 |  | 2020-12-31 | Planned | Reliability | Wreck and re-build the VFT – Warinanco – Aldene 230 kV circuit with paired conductor.
PJM | VA | 314901 | 8BATH CO | 314912 | 8LEXNGTN | 1 | 500 |  | 2020-04-01 | Planned | Reliability | Replace fixed series capacitors on 500kV Line #547 at Lexington and on 500kV Line #548 at Valley
PJM | VA | 314170 | 6COHMIL | 314171 | 6BRAMBL | 1 | 230 |  | 2019-06-01 | Planned | Reliability | Split Line #227 (Brambleton – Beaumeade 230 kV )and terminate into existing Belmont substation
PJM | VA | 314067 | 6OCCOQUN | 314094 | 6WOODBR | 1 | 230 |  | 2022-06-01 | Planned | Reliability | Reconductor the Woodbridge to Occoquan 230kV line segment of Line 2001 with 1047 MVA conductor and replace line terminal equipment at Possum Point, Woodbridge, and Occoquan
PJM | OH | 242935 | 05E LIMA | 246929 | 05MADDOX | 1 | 345 |  | 2021-06-01 | Planned | Reliability | Replace terminal equipment on Maddox Creek - East Lima 345kV circuit
PJM | OH | 241901 | 02LALLENDORF | 264612 | 19MON12 | 1 | 345 |  | 2019-11-01 | Planned | Reliability | Reconductor limiting span of Lallendorf - Monroe 345kV (crossing of Maumee river)
PJM | KY | 243233 | 05TANNER | 248001 | 06DEARB1 | Z1 | 345 |  | 2021-06-01 | Planned | Reliability | Upgrade terminal equipment at Tanners Creek 345kV station. Upgrade 345kV Bus and Risers at Tanners Creek for the Dearborn circuit.
PJM | VA | 314920 | 8RAWLIN | 314915 | 8CLOVER |  | 500 |  | 2021-05-31 | Planned | Reliability | Install 2-125 MVAR STATCOMs at Rawlings and 1-125 MVAR STATCOM at Clover 500 kV Substations
PJM | MD | 220963 | CONASTON | 220964 | GRACETON | 23 | 230 |  | 2021-06-01 | Planned | Reliability | Reconductor the Conastone to Graceton 230 kV 2323 & 2324 circuits. Replace 7 disconnect switches at Conastone Substation
PJM | MD | 220964 | GRACETON | 220999 | BAGLEY2 | 13 | 230 |  | 2021-06-01 | Planned | Reliability | Add Bundle conductor on the Graceton-Bagley-Raphael Road 2305 & 2313 230kV circuits
PJM | MD | 221089 | WINDYED1 | 221090 | GLENARM2 | 1 | 115 |  | 2021-06-01 | Planned | Reliability | Replacing short segment of substation conductor on the Windy Edge to Glenarm 110512 115kV circuit
PJM | MD | 220965 | NEAST339 | 220980 | RAPHAEL | 1 | 230 |  | 2021-06-01 | Planned | Reliability | Reconductor the Raphael Road - Northeast 2315 & 2337 230kV circuits
PJM | IL | 270854 | POWERTON ; B |  |  |  | 345 |  | 2021-06-01 | Planned | Reliability | Install a 120Mvar 345kV shunt inductor at Powerton (the 345kV yard already contains an empty bus position on the ring we only need a switching breaker for the inductor)
PJM | VA | 314260 | 6VARINA | 314236 | 6NRTHEST | 1 | 230 |  | 2020-05-15 | Planned | Reliability | Varina Sub. - Tap the Basin - Northeast 230 kV line and install new distribution substation.
PJM | VA | 313807 | 6WAXPOOL | 313824 | 6FARMWELL | 1 | 230 |  | 2020-11-15 | Planned | Reliability | Cut and loop Line Beaumeade-Waxpool 230 kV line (#2152) into a four breaker ring bus configuration with space for two additional breakers in the future. Install two 84 MVA transformers.
PJM | VA | 313815 | 6SPRINGH | 314079 | 6RESTON | 1 | 230 |  | 2023-12-31 | Planned | Reliability | Tap line #2010 Reston - Tysons 230 kV, install one double-deadend backbone and 6-breaker 230 kV GIS ring bus
PJM | PA | 204504 | 27MIDD JCT | 207987 | HUMM | 1 | 230 |  | 2021-09-30 | Planned | Reliability | Upgrade Hummelstown 230 kV Substation to all double bus/double breaker bays
PJM | VA | 313847 | 6LEBANON | 314386 | 6KINGS M | 1 | 230 |  | 2019-03-30 | Construction | Reliability | Dominion Distribution has requested a new 230 kV delivery point at existing Lebanon Substation on by tapping Line #209 Skiffes Creek - Yorktown 230 kV and will retire existing 115 kV Tx#1 at this loca
PJM | IN ,MI | 243231 | 05ROB PK | 247894 | 05E.ELKHA BP | 1 | 345 |  | 2019-12-31 | Planned | Reliability | Loop in Robison Park - Argenta/Weeds Lake 345 kV circuit into NIPSCO's Hiple station; Remote end work at AEP's Robison Park station
PJM | PA | 207990 | HUMMTPST | 208105 | STEE TR1 | 1 | 230 |  | 2021-07-31 | Planned | Reliability | Rebuild Hummelstown - Middletown Junction #1 230 kV line (7 mi)
PJM | NJ | 218167 | MADISON69 | 218189 | UNIONCTY69 | 1 | 230 |  | 2018-12-01 | Planned | Reliability | Build a new Madison 230 kV substation with 3 breaker ring bus configuration by looping the R-2270 230 kV circuit.
PJM | PA | 204710 | 27SHAWNEE4 | 207930 | BUSH | 1 | 230 |  | 2027-09-01 | Planned | Reliability | Rebuild the existing Foxhill-Shawnee 230 kV line (Approximately 8.25 Miles).
PJM | PA | 204500 | 27FOXHILL | 204513 | 27SHAWNEE | 1 | 230 |  | 2027-11-01 | Planned | Reliability | Rebuild the existing Shawnee-Bushkill 230 kV line (Approximately 2.2 Miles).
PJM | PA | 207960 | EPAL TR2 | 207977 | HARW | 1 | 230 |  | 2019-09-23 | Construction | Reliability | Upgrade Harwood 230 kV Substation by building 230 kV yard to current standards and replacing old equipment.
PJM | PA | 207922 | BRIS | 207923 | BRISREAC | S | 230 |  | 2024-11-01 | Planned | Reliability | Remove the 230kV reactor and 230kV bypass circuit breaker on the Brunner Island-W.Hempfield 230kV line
PJM | OH | 243491 | 05CORRID | 243856 | 05JUG ST | 1 | 345 |  | 2019-12-01 | Planned | Reliability | Rebuild the Corridor – Jug Street 345 kV line as a double circuit line with one side served at 345 kV and the other at 138 kV to provide a third source to Jug Street station.
PJM | IL | 270852 | PONTIAC ; B |  |  |  | 345 |  | 2020-01-31 | Planned | Reliability | At Pontiac 345kV station, install 345 kV bus tie 6-7 to separate the transformer and line onto their own bus sections and Install a high side circuit breaker on transformer 82 to bring it up to current standards
PJM | VA | 313715 | 6WINTERS BR | 314016 | 6CANNONB | 1 | 230 |  | 2020-04-15 | Planned | Reliability | Cut and loop the 230 kV Line #2132 (Cloverhill – Cannon Branch) into the proposed Winter’s Branch Substation. With total load greater than 100MW, the new substation will be a four-breaker 230kV ring bus and will be set up for an ultimate six-breaker 230 kV ring bus to meet the future growing demands of the region. Install line switches, two 230 kV circuit switchers and high side switches, and necessary bus work for the new transformers.
PJM | DE | 232001 | COOLSPRS | 232006 | INDRIV 4 | 1 | 230 |  | 2020-12-31 | Planned | Reliability | Rebuild line 23070 circuit between Cool Spring and Indian River 230 kV substations. All structures, conductor, and static wire will be replaced with new steel poles, conductor, and OPGW
TVA | MS | 360036 | 5WEST POINT | 361738 | 5MONTPLER TP | 1 | 161 | 6.94 | 2018-11-01 | Planned | Reliability | Construct Montpelier, tap West Point-Starkville SS 161 kV
TVA | MS | 361738 | 5MONTPLER TP | 361529 | 5STARKVLE SS | 1 | 161 | 7.29 | 2018-11-01 | Planned | Reliability | Construct Montpelier, tap West Point-Starkville SS 161 kV
TVA | TN | 360581 | 8PIN HOOK TN | 360365 | 5PIN HOOK TN | 2 | 500/161 | N/A | 2018-11-01 | Planned | Reliability | Pin Hook 500/161 kV #2, install for 1344 MVA
TVA | TN | 360077 | 8PLATEAU TN | 360078 | 5PLATEAU TN | 1 | 500/161 | N/A | 2019-06-01 | Planned | Reliability | Plateau 500/161 kV, install for 1344 MVA
TVA | TN | 360090 | 8ROANE TN | 360077 | 8PLATEAU TN | 1 | 500 | 46.36 | 2019-06-01 | Planned | Reliability | Construct Plateau, loop into existing Roane-Wilson 500 kV
TVA | TN | 360077 | 8PLATEAU TN | 360071 | 8WILSON TN | 1 | 500 | 77.17 | 2019-06-01 | Planned | Reliability | Construct Plateau, loop into existing Roane-Wilson 500 kV
TVA | TN | 361237 | 5MONTEREY TN | 360078 | 5PLATEAU TN | 1 | 161 | 7.83 | 2019-06-01 | Planned | Reliability | Construct Plateau, loop into existing Monterey-Campbell Junction 161 kV
TVA | TN | 360078 | 5PLATEAU TN | 361417 | 5CAMPBEL JCT | 1 | 161 | 0.31 | 2019-06-01 | Planned | Reliability | Construct Plateau, loop into existing Monterey-Campbell Junction 161 kV
TVA | MS | 360109 | 5REDHILLS MS | 361498 | 5WEIR MS TAP | 1 | 161 | 8.39 | 2019-11-01 | Planned | Reliability | Construct Red Hills-Weir-Kosciusko-Singleton-Leake 161 kV (50 miles)
TVA | MS | 361498 | 5WEIR MS TAP | 361750 | 5KOSCIUSKO | 1 | 161 | 35.35 | 2019-11-01 | Planned | Reliability | Construct Red Hills-Weir-Kosciusko-Singleton-Leake 161 kV (50 miles)
TVA | MS | 361750 | 5KOSCIUSKO | 361861 | 5SINGLETON T | 1 | 161 | 15.76 | 2019-11-01 | Planned | Reliability | Construct Red Hills-Weir-Kosciusko-Singleton-Leake 161 kV (50 miles)
TVA | MS | 361861 | 5SINGLETON T | 360243 | 5LEAKE MS | 1 | 161 | 5.73 | 2019-11-01 | Planned | Reliability | Construct Red Hills-Weir-Kosciusko-Singleton-Leake 161 kV (50 miles)
TVA | AL | 360065 | 8WID CRK FP | 360066 | 5WID CRK FP1 | 17 | 500/161 | N/A | 2019-11-01 | Planned | Reliability | Widows Creek 500/161 kV #2, install for 1344 MVA
TVA | MS | 360207 | 5W BATESV MS | 361717 | 5WCHARLESTON | 1 | 161 | 27.66 | 2020-06-01 | Planned | Reliability | Construct West Batesville-West Charleston-North Oakland 161 kV for loads on Entergy's system
TVA | MS | 361717 | 5WCHARLESTON | 361718 | 5N OAKLAND | 1 | 161 | 16.28 | 2020-06-01 | Planned | Reliability | Construct West Batesville-West Charleston-North Oakland 161 kV for loads on Entergy's system
TVA | MS | 360216 | 5OXFORD MS | 361787 | 5TAYLOR MS | 1 | 161 | 6.53 | 2020-06-01 | Planned | Reliability | Construct Oxford-Coffeeville 161 kV (30 miles)
TVA | MS | 361787 | 5TAYLOR MS | 360230 | 5COFFEEVILLE | 1 | 161 | 22.51 | 2020-06-01 | Planned | Reliability | Construct Oxford-Coffeeville 161 kV (30 miles)
TVA | TN | 360646 | 5DUNCAN TN | 361841 | 5DUNCAN TAP | 1 | 161 | 0.96 | 2021-06-01 | Planned | Reliability | Rebuild Alcoa North-Nixon Rd 161 kV (12 miles, for Alcoa SS-Nixon Rd 161 kV #2)
TVA | TN | 361841 | 5DUNCAN TAP | 361153 | 5ROCKFORD TP | 1 | 161 | 1.85 | 2021-06-01 | Planned | Reliability | Rebuild Alcoa North-Nixon Rd 161 kV (12 miles, for Alcoa SS-Nixon Rd 161 kV #2)
TVA | TN | 361153 | 5ROCKFORD TP | 360460 | 5NIXON RD TN | 1 | 161 | 9 | 2021-06-01 | Planned | Reliability | Rebuild Alcoa North-Nixon Rd 161 kV (12 miles, for Alcoa SS-Nixon Rd 161 kV #2)
TVA | TN | 360096 | 5ALCOA SW TN | 360646 | 5DUNCAN TN | 1 | 161 | 4.3 | 2021-06-01 | Planned | Reliability | Construct Alcoa SS-Duncan 161 kV (for Alcoa SS-Nixon Rd 161 kV #2)
TVA | TN | 360371 | 5CHICK TRAIL | 360504 | 5MOSCOW TN | 1 | 161 | 17.1 | 2021-06-01 | Planned | Reliability | Construct Chickasaw Trails-Moscow 161 kV
TVA | MS | 361777 | 5COX ROAD MS | 360371 | 5CHICK TRAIL | 1 | 161 | 3.1 | 2021-06-01 | Planned | Reliability | Loop Miller-Holly Springs 161 kV into Chickasaw Trails
TVA | MS | 360371 | 5CHICK TRAIL | 361573 | 5COLDWATR TP | 1 | 161 | 4.66 | 2021-06-01 | Planned | Reliability | Loop Miller-Holly Springs 161 kV into Chickasaw Trails
TVA | TN | 360458 | 5KNOX TN | 360465 | 5DOUGLAS HP | 1 | 161 | 21.96 | 2022-06-01 | Planned | Reliability | Rebuild and reconductor Knox-Douglas 161 kV
TVA | MS | 361809 | 5ARTESIA MS | 361837 | 5CARBONIC TP | 1 | 161 | 9.73 | 2022-06-01 | Planned | Reliability | Construct Artesia-W. Columbus 161 kV (12 miles)
TVA | MS | 361837 | 5CARBONIC TP | 360525 | 5WCOLUMBUS | 1 | 161 | 1.42 | 2022-06-01 | Planned | Reliability | Construct Artesia-W. Columbus 161 kV (12 miles)
TVA | MS | 360036 | 5WEST POINT | 361738 | 5MONTPLER TP | 1 | 161 | 6.94 | 2022-06-01 | Planned | Reliability | Reconductor West Point-Montpelier-Starkville 161 kV (15 miles)
TVA | MS | 361738 | 5MONTPLER TP | 361529 | 5STARKVLE SS | 1 | 161 | 7.29 | 2022-06-01 | Planned | Reliability | Reconductor West Point-Montpelier-Starkville 161 kV (15 miles)
SBA | AL | 384489 | 6N SELMA6 230.00 | 385500 | 6HARRIS SS 230.00 | 1 | 230 | 28 | 2021 | Committed | Reliability | Reconductor 28 miles of 230kV line
SBA | AL | 384121 | 5FAYET TS 161.00 | 384127 | 5FAY COTN 161.00 | 1 | 161 | 2 | 2023 | Planned | Reliability | Reconductor 2 miles of 161kV line
SBA | AL | 384127 | 5FAY COTN 161.00 | 384979 | 5BANKSTON 161.00 | 1 | 161 | 8 | 2023 | Planned | Reliability | Reconductor 8 miles of 161kV line
SBA | AL | 384979 | 5BANKSTON 161.00 | 384128 | 5JWALTTP 161.00 | 1 | 161 | 4 | 2023 | Planned | Reliability | Reconductor 4 miles of 161kV line
SBA | AL | 384128 | 5JWALTTP 161.00 | 384978 | 5BERRY 161.00 | 1 | 161 | 1 | 2023 | Planned | Reliability | Reconductor 1 miles of 161kV line
SBA | AL | 384978 | 5BERRY 161.00 | 384131 | 5OAKMANTP 161.00 | 1 | 161 | 10 | 2023 | Planned | Reliability | Reconductor 10 miles of 161kV line
SBA | AL | 384131 | 5OAKMANTP 161.00 | 384104 | 5GOODSPRNGS1161.00 | 1 | 161 | 13 | 2023 | Planned | Reliability | Reconductor 13 miles of 161kV line
SBA | GA | 382668 | 6KLONDIKE B1230.00 | 382705 | 6MORROW B2 230.00 | 1 | 230 | 16 | 2024 | Planned | Reliability | Reconductor 16 miles of 230kV line
SBA | GA | 380109 | 6S AUGUST B1230.00 | 370063 | 6GRA-S AUG_P230.00 | 1 | 230 | 4 | 2020 | Committed | Reliability | Construct 4 miles of 230 kV line | Yes
ISO-NE | ME | 100004 | ORRNGTN SCAP | 100810 | PITTSFIELD | 1 | 345 | N/A | N/A | Withdrawn | Queue Project | Number Nine Wind
ISO-NE | ME | 100092 | ALBION ROAD | 100810 | PITTSFIELD | 1 | 345 | N/A | N/A | Withdrawn | Queue Project | Number Nine Wind
ISO-NE | ME | 100810 | PITTSFIELD | 100812 | HAYNES | 1 | 345 | N/A | N/A | Withdrawn | Queue Project | Number Nine Wind
ISO-NE | ME | 100812 | HAYNES | 100814 | HAMMOND | 1 | 345 | N/A | N/A | Withdrawn | Queue Project | Number Nine Wind
ISO-NE | ME | 100813 | Q417_345 | 100814 | HAMMOND | 1 | 345 | N/A | N/A | Withdrawn | Queue Project | Number Nine Wind
ISO-NE | NH | 104043 | FRANKLIN | 104095 | DEERFIELD | 1 | 345 | N/A | N/A | Withdrawn | ETU | NPT
ISO-NE | NH | 104063 | NU_391_CMP | 104095 | DEERFIELD | 1 | 345 | N/A | N/A | Withdrawn | ETU | NPT
ISO-NE | NH | 104095 | DEERFIELD | 104143 | SCOBIE POND | 2 | 345 | N/A | N/A | Withdrawn | ETU | NPT
ISO-NE | MA | 110756 | WOBURN | 114476 | WAKEFLD JCT | 1 | 345 | 3.62 | 2021-05-01 | Under Construction | Reliability | Woburn-Wakefield Cable | Yes
ISO-NE | MA | 110786 | STOUGHTON | 110790 | K STREET 1 | 2 | 345 | N/A | 2019-11-01 | Planned | Reliability | Add a new 345 kV shunt reactor at K Street
ISO-NE | MA | 113264 | MILLBURY | 110770 | W MEDWAY A | 1 | 345 | 16.19 | 2021-12-01 | Planned | Reliability | Upgrade of existing line 323
ISO-NE | MA | 114734 | BRAYTN POINT | 114742 | BRAYTN POINT | 1 | 345/115 | N/A | 2020-12-01 | Planned | Reliability | Upgrade 345/115 kV Transformer at Brayton Point
ISO-NE | RI | 117301 | KENT COUNTY | 117332 | KENT COUNTY | 3 | 345/115 | N/A | 2020-11-01 | Planned | Reliability | Kent County T3 345/115 kV transformer replacement
MISO | AR | 338832 | 5CLINTON.W# | 338837 | 5PARTAIN# | 1 | 161 | 14 | 2020-06-01 | Proposed | Other Reliability | P10206 Clinton West to Partain 161kV line, 161/69kV Partain substation | Yes
MISO | AR | 337808 | 8MABELVALE% | 337804 | 3MABELVALE% | 1 | 500/115 | N/A | 2019-06-30 | Under Construction | BaseRel | P4665 Mabelvale: Replace 500-115 Autos
MISO | AR | 337808 | 8MABELVALE% | 337804 | 3MABELVALE% | 2 | 500/115 | N/A | 2019-06-30 | Under Construction | BaseRel | P4665 Mabelvale: Replace 500-115 Autos
MISO | AR | 337561 | 8EL DORADO% | 337539 | 3EL DORADO! | 2 | 500/115 | N/A | 2020-03-01 | Planned | BaseRel | P9673 El Dorado Install 2nd 500/115 Autotransformer | Yes
MISO | LA | 335138 | 6MANENA% | 335190 | 6NELSON% | 1 | 230 | 5.3 | 2020-06-01 | Planned | BaseRel | P10008 Nelson to Menena 230 kV: Construct New Line | Yes
MISO | LA | 336154 | 6WATFRD% | 336257 | 6CHURCHILL% | 2 | 230 | 27 | 2022-06-01 | Planned | Other Reliability | P12017 Southeast Louisiana Project
MISO | MS | 337009 | 8MCADAMS% | 337000 | 6MCADAMS% | 1 | 500/230 | N/A | 2019-12-01 | Planned | BaseRel | P11783 McAdams Upgrade Autotransformers
MISO | MS | 337009 | 8MCADAMS% | 337000 | 6MCADAMS% | 2 | 500/230 | N/A | 2019-12-01 | Planned | BaseRel | P11783 McAdams Upgrade Autotransformers
MISO | MS | 336945 | 8LAKEOVER% | 336848 | 6LAKEOVER% | 1 | 500/230 | N/A | 2019-12-01 | Planned | Other Reliability | P12015 Lakeover 500/230 kV XFMR | Yes
MISO | TX | 334422 | 6GARDEN SS% |  |  |  | 230 | N/A | 2020-06-01 | Planned | BaseRel | P9812 PARIP Garden 230 kV: Construct New 230 kV Substation | Yes
MISO | TX | 334204 | 6CHINA% | 334422 | 6GARDEN SS% | 1 | 230 | 24 | 2020-06-01 | Planned | BaseRel | P9812 PARIP Garden 230 kV: Construct New 230 kV Substation
MISO | TX | 334422 | 6GARDEN SS% | 334428 | 6NEDERLAND% | 1 | 230 | 2.4 | 2020-06-01 | Planned | BaseRel | P9812 PARIP Garden 230 kV: Construct New 230 kV Substation
MISO | TX | 334422 | 6GARDEN SS% | 334245 | 6MCFADDEN% | 1 | 230 | 4.32 | 2020-06-01 | Planned | BaseRel | P9812 PARIP Garden 230 kV: Construct New 230 kV Substation
MISO | TX | 334422 | 6GARDEN SS% | 334435 | 6MID CO% | 1 | 230 | 4.26 | 2020-06-01 | Planned | BaseRel | P9812 PARIP Garden 230 kV: Construct New 230 kV Substation
MISO | MN | 615664 | GRE-RIVRVRD3 |  |  |  | 345 |  | 2019-01-04 | In Service | Other Reliability | P7884 Riverview 345/115/69 kV Substation | Yes
MISO | MN | 601047 | QUARRY 3 | 615664 | GRE-RIVRVRD3 | 1 | 345 | 31 | 2019-01-04 | In Service | Other Reliability | P7884 Riverview 345/115/69 kV Substation
MISO | MN | 615664 | GRE-RIVRVRD3 | 658047 | ALEXMRES3 | 1 | 345 | 33.5 | 2019-01-04 | In Service | Other Reliability | P7884 Riverview 345/115/69 kV Substation
MISO | MN | 615664 | GRE-RIVRVRD3 | 615665 | GRE-RIVRVRD7 | 3 | 345/115 |  | 2019-01-04 | In Service | Other Reliability | P7884 Riverview 345/115/69 kV Substation
MISO | IA | 631208 | JOHNSON3 | [5 empty] | 2019-12-31 | Planned | BaseRel | P9668 Cedar Rapids-North Liberty area-Hills Upgrades | Yes
MISO | IA | 631208 | JOHNSON3 | 636400 | HILLS 3 | 1 | 345 | 2 | 2019-12-31 | Planned | BaseRel | P9668 Cedar Rapids-North Liberty area-Hills Upgrades | Yes
MISO | IA | 631208 | JOHNSON3 | 631093 | JOHNSON5 |  | 345/161 | n/a | 2019-12-31 | Planned | BaseRel | P9668 Cedar Rapids-North Liberty area-Hills Upgrades | Yes
MISO | MN | 601004 | WILMART3 | 631193 | HUNTLEY3 | 1 | 345 | 38.5 | 2022-01-01 | Planned | MEP | P11883 Huntley - Wilmarth 345 kV | Yes
MISO | LA | 500825 | TECHE 6 |  |  |  | 230 | n/a | 2020-12-17 | Under Construction | BaseRel | P12985 Segura to Teche to Bayou Vista 230 kV line | Yes
MISO | LA | 500065 | BVISTA 6 | 500825 | TECHE 6 | 1 | 230 | 21 | 2020-12-17 | Under Construction | BaseRel | P12985 Segura to Teche to Bayou Vista 230 kV line | Yes
MISO | LA | 500773 | SEGURA 6 | 500825 | TECHE 6 | 1 | 230 | 26 | 2020-12-17 | Under Construction | BaseRel | P12985 Segura to Teche to Bayou Vista 230 kV line | Yes
MISO | LA | 500820 | TECHE 4 | 500825 | TECHE 6 | 1 | 230/138 | n/a | 2020-12-17 | Under Construction | BaseRel | P12985 Segura to Teche to Bayou Vista 230 kV line | Yes
MISO | AR | 337811 | 8HAPPYVALY% |  |  |  | 500 | n/a | 2024-06-01 | Planned | BaseRel | P12039 Hot Springs EHV - Happy Valley 500kV: Build new line | Yes
MISO | AR | 337753 | 8HS EHV% | 337811 | 8HAPPYVALY% | 1 | 500 | 50 | 2024-06-01 | Planned | BaseRel | P12039 Hot Springs EHV - Happy Valley 500kV: Build new line | Yes
MISO | AR | 337808 | 8MABELVALE% | 337811 | 8HAPPYVALY% | 1 | 500 | 12 | 2024-06-01 | Planned | BaseRel | P12039 Hot Springs EHV - Happy Valley 500kV: Build new line | Yes
MISO | AR | 337808 | 8MABELVALE% | 337811 | 8HAPPYVALY% | 2 | 500 | 12 | 2024-06-01 | Planned | BaseRel | P12039 Hot Springs EHV - Happy Valley 500kV: Build new line | Yes
MISO | AR | 337811 | 8HAPPYVALY% | 337909 | 8ANO% |  | 500 | 74.61 | 2024-06-01 | Planned | BaseRel | P12039 Hot Springs EHV - Happy Valley 500kV: Build new line | Yes
MISO | AR | 337811 | 8HAPPYVALY% | 337937 | 8MAYFLOWER% |  | 500 | 17.7 | 2024-06-01 | Planned | BaseRel | P12039 Hot Springs EHV - Happy Valley 500kV: Build new line | Yes
MISO | AR | 337916 | 5RUSSELVL.E_ |  |  |  | 161 | n/a | 2020-06-01 | Planned | BaseRel | P12041 Russellville East 161kV: Add series reactor | Yes
MISO | AR | 337905 | 5RUSSELVL.E! | 337916 | 5RUSSELVL.E_ | R1 | 161 |  | 2020-06-01 | Planned | BaseRel | P12041 Russellville East 161kV: Add series reactor | Yes
MISO | AR | 337905 | 5RUSSELVL.E! | 337916 | 5RUSSELVL.E_ | ZO | 161 |  | 2020-06-01 | Planned | BaseRel | P12041 Russellville East 161kV: Add series reactor | Yes
MISO | AR | 337906 | 5RUSSELVL.N | 337916 | 5RUSSELVL.E_ | 1 | 161 | 3.15 | 2020-06-01 | Planned | BaseRel | P12041 Russellville East 161kV: Add series reactor | Yes
MISO | AR | 338145 | 8ISES% | 338142 | 5ISES% | 1 | 500/161 | N/A | 2020-04-01 | Under Construction | BaseRel | P12045 Independence: Upgraded 500/161 kV autotransformers
MISO | AR | 338145 | 8ISES% | 338142 | 5ISES% | 2 | 500/161 | N/A | 2020-04-01 | Under Construction | BaseRel | P12045 Independence: Upgraded 500/161 kV autotransformers
MISO | LA | 337435 | 6PERRYVILLE% |  |  |  | 230 | n/a | 2021-06-01 | Proposed | BaseRel | P9683 West Monroe Area 230 kV Reliability Improvement Plan | Yes
MISO | LA | 337435 | 6PERRYVILLE% | 337437 | 6SELMAN_FLD! | 1 | 230 | 15 | 2021-06-01 | Proposed | BaseRel | P9683 West Monroe Area 230 kV Reliability Improvement Plan | Yes
MISO | LA | 337435 | 6PERRYVILLE% | 337455 | 6DUNN% | 1 | 230 | 38.5 | 2021-06-01 | Proposed | BaseRel | P9683 West Monroe Area 230 kV Reliability Improvement Plan | Yes
MISO | LA | 337427 | 8PERRYVILLE% | 337435 | 6PERRYVILLE% | 1 | 500/230 | n/a | 2021-06-01 | Proposed | BaseRel | P9683 West Monroe Area 230 kV Reliability Improvement Plan | Yes
MISO | LA | 337437 | 6SELMAN_FLD! |  |  |  | 230 | n/a | 2021-06-01 | Proposed | BaseRel | P9683 West Monroe Area 230 kV Reliability Improvement Plan | Yes
MISO | LA | 337437 | 6SELMAN_FLD! | 337438 | 6RILLA | 1 | 230 | 10.25 | 2021-06-01 | Proposed | BaseRel | P9683 West Monroe Area 230 kV Reliability Improvement Plan | Yes
MISO | LA | 337455 | 6DUNN% |  |  |  | 230 | n/a | 2021-06-01 | Proposed | BaseRel | P9683 West Monroe Area 230 kV Reliability Improvement Plan | Yes
MISO | LA | 337455 | 6DUNN% | 337452 | 3DUNN! | 1 | 230/115 | n/a | 2021-06-01 | Proposed | BaseRel | P9683 West Monroe Area 230 kV Reliability Improvement Plan | Yes
MISO | LA | 337438 | 6RILLA |  |  |  | 230 | n/a | 2021-06-01 | Proposed | BaseRel | P9683 West Monroe Area 230 kV Reliability Improvement Plan | Yes
MISO | LA | 337438 | 6RILLA | 337386 | 3RILLA! | 1 | 230/115 | n/a | 2021-06-01 | Proposed | BaseRel | P9683 West Monroe Area 230 kV Reliability Improvement Plan | Yes
MISO | LA | 335082 | 6BIG_LAKE% | 335084 | 6MUD_LAKE% | 1 | 230 | 10 | 2022-12-01 | Planned | BaseRel | P12076 Mud Lake to Big Lake 230 kV: New Line | Yes
MISO | LA | 336233 | 3SNFARM! | 336194 | 6SNFARM! | 2 | 230/115 | n/a | 2020-03-31 | Planned | BaseRel | P12129 Snakefarm 230-115 kV: Add 2nd Auto | Yes
MISO | LA | 336257 | 6CHURCHILL% |  |  |  | 230 | n/a | 2020-06-01 | Planned | BaseRel | P12132 Jefferson Parish Area Reliability Plan Phase 1 | Yes
MISO | LA | 336258 | 6BARATARIA% |  |  |  | 230 | n/a | 2020-06-01 | Planned | BaseRel | P12132 Jefferson Parish Area Reliability Plan Phase 1 | Yes
MISO | LA | 336154 | 6WATFRD% | 336257 | 6CHURCHILL% |  | 230 | 26.96 | 2020-06-01 | Planned | BaseRel | P12132 Jefferson Parish Area Reliability Plan Phase 1
MISO | LA | 336250 | 69MILE% | 336257 | 6CHURCHILL% | 1 | 230 | 4 | 2020-06-01 | Planned | BaseRel | P12132 Jefferson Parish Area Reliability Plan Phase 1
MISO | LA | 336250 | 69MILE% | 336257 | 6CHURCHILL% | 2 | 230 | 4 | 2020-06-01 | Planned | BaseRel | P12132 Jefferson Parish Area Reliability Plan Phase 1
MISO | LA | 336257 | 6CHURCHILL% | 336260 | 6ESTELL! | 1 | 230 | 6.56 | 2020-06-01 | Planned | BaseRel | P12132 Jefferson Parish Area Reliability Plan Phase 1
MISO | LA | 336257 | 6CHURCHILL% | 336258 | 6BARATARIA% | 1 | 230 |  | 2020-06-01 | Planned | BaseRel | P12132 Jefferson Parish Area Reliability Plan Phase 1 | Yes
MISO | LA | 336086 | 6ALLIANC! | 336258 | 6BARATARIA% | 1 | 230 | 14 | 2020-06-01 | Planned | BaseRel | P12132 Jefferson Parish Area Reliability Plan Phase 1 | Yes
MISO | LA | 336084 | 3BARATA! | 336258 | 6BARATARIA% | 1 | 230/115 | n/a | 2020-06-01 | Planned | BaseRel | P12132 Jefferson Parish Area Reliability Plan Phase 1 | Yes
MISO | LA | 336085 | 3ALLIA! | 336086 | 6ALLIANC! | 2 | 230/115 | n/a | 2020-06-01 | Planned | BaseRel | P12132 Jefferson Parish Area Reliability Plan Phase 1 | Yes
MISO | MS | 336893 | 6HENDERSON |  |  |  | 230 | n/a | 2019-06-01 | Under Construction | BaseRel | P12027 Henderson Road 230 kV: New substation | Yes
MISO | MS | 336843 | 6RANKIN% | 336893 | 6HENDERSON | 1 | 230 | 3.69 | 2019-06-01 | Under Construction | BaseRel | P12027 Henderson Road 230 kV: New substation
MISO | MS | 336844 | 6GRANTSFERRY | 336893 | 6HENDERSON | 1 | 230 | 2.46 | 2019-06-01 | Under Construction | BaseRel | P12027 Henderson Road 230 kV: New substation
MISO | TX | 334420 | 8SJEP% |  |  |  | 500 | n/a | 2023-06-01 | Proposed | MEP | P13864 Hartburg to Sabine Junction 500 kV Economic Project | Yes
MISO | TX | 334421 | 6SJEP% |  |  |  | 230 | n/a | 2023-06-01 | Proposed | MEP | P13864 Hartburg to Sabine Junction 500 kV Economic Project | Yes
MISO | TX | 334420 | 8SJEP% | 334421 | 6SJEP% | 2 | 500/230 | n/a | 2023-06-01 | Proposed | MEP | P13864 Hartburg to Sabine Junction 500 kV Economic Project | Yes
MISO | TX | 334325 | 8HARTBRG% | 334420 | 8SJEP% | 1 | 500 |  | 2023-06-01 | Proposed | MEP | P13864 Hartburg to Sabine Junction 500 kV Economic Project | Yes
MISO | TX | 334245 | 6MCFADDEN% | 334421 | 6SJEP% | 1 | 230 | 3.3 | 2023-06-01 | Proposed | MEP | P13864 Hartburg to Sabine Junction 500 kV Economic Project
MISO | TX | 334428 | 6NEDERLAND% | 334421 | 6SJEP% | 1 | 230 | 6.38 | 2023-06-01 | Proposed | MEP | P13864 Hartburg to Sabine Junction 500 kV Economic Project
MISO | TX | 334434 | 6SABINE% | 334421 | 6SJEP% | 1 | 230 | 5 | 2023-06-01 | Proposed | MEP | P13864 Hartburg to Sabine Junction 500 kV Economic Project
MISO | TX | 334434 | 6SABINE% | 334421 | 6SJEP% | 2 | 230 | 5 | 2023-06-01 | Proposed | MEP | P13864 Hartburg to Sabine Junction 500 kV Economic Project
MISO | IN | 255109 | 17MUNSTER | 270677 | BURNHAM ;0R | 1 | 345 | 0.93 | 2020-06-01 | Planned | TMEP | P14264 Burnham - Munster 345 kV
MISO | MO,AR | 338674 | 5DRY_CRK# |  |  |  | 161 | n/a | 2020-12-31 | Planned | Other Reliability | P13993 Tap EAI Harrison East - Osage Creek: Construct Dry Creek 161 kV switching station | Yes
MISO | MO,AR | 338102 | 5HARRISON.W | 338674 | 5DRY_CRK# | 1 | 161 | 16.82 | 2020-12-31 | Planned | Other Reliability | P13993 Tap EAI Harrison East - Osage Creek: Construct Dry Creek 161 kV switching station
MISO | MO,AR | 338103 | 5GRNFOREST.S | 338674 | 5DRY_CRK# | 1 | 161 | 1.27 | 2020-12-31 | Planned | Other Reliability | P13993 Tap EAI Harrison East - Osage Creek: Construct Dry Creek 161 kV switching station
MISO | MO,AR | 338674 | 5DRY_CRK# | 338678 | 5SMYRNA# | 1 | 161 | 28 | 2020-12-31 | Planned | Other Reliability | P13993 Tap EAI Harrison East - Osage Creek: Construct Dry Creek 161 kV switching station | Yes
MISO | MO,AR | 338674 | 5DRY_CRK# | 338675 | 5LONG_CRK# | 1 | 161 | 17 | 2020-12-31 | Planned | Other Reliability | P13993 Tap EAI Harrison East - Osage Creek: Construct Dry Creek 161 kV switching station | Yes
MISO | MO,IL | 348998 | 7BEEHIVE |  |  |  | 345 | n/a | 2021-12-01 | Planned | Other Reliability | P3033 New Beehive 345/138 kV substation (Dupo Area) | Yes
MISO | MO,IL | 346714 | 7CAHOKIA | 348998 | 7BEEHIVE | 1 | 345 | 5 | 2021-12-01 | Planned | Other Reliability | P3033 New Beehive 345/138 kV substation (Dupo Area)
MISO | MO,IL | 348774 | 7BALDWIN | 348998 | 7BEEHIVE | 1 | 345 | 31 | 2021-12-01 | Planned | Other Reliability | P3033 New Beehive 345/138 kV substation (Dupo Area)
MISO | MO,IL | 348998 | 7BEEHIVE | 348999 | 4BEEHIVE | 1 | 345/138 | n/a | 2021-12-01 | Planned | Other Reliability | P3033 New Beehive 345/138 kV substation (Dupo Area) | Yes
MISO | MO,IL | 348998 | 7BEEHIVE | 348999 | 4BEEHIVE | 2 | 345/138 | n/a | 2021-12-01 | Planned | Other Reliability | P3033 New Beehive 345/138 kV substation (Dupo Area) | Yes
MISO | AR | 338814 | 5SOUTHLAND# | 505448 | NORFORK5 | 1 | 161 | 9 | 2023-12-01 | Planned | BaseRel | P13621 Norfork - Southland 161kV: Rebuild line
MISO | AR | 338104 | 5HARRISON.E! | 338107 | 5EVERTON RD | 1 | 161 | 8.3 | 2027-12-01 | Planned | BaseRel | P13624 Everton Road - Harrison East 161kV: Rebuild line
MISO | AR | 338107 | 5EVERTON RD | 338108 | 5ST JOE | 1 | 161 | 13.6 | 2026-12-01 | Planned | BaseRel | P13625 St. Joe - Everton Road 161kV: Rebuild line
MISO | AR | 338108 | 5ST JOE | 338110 | 5HILLTOP% | 1 | 161 | 3.9 | 2025-12-01 | Planned | BaseRel | P13626 Hilltop - St. Joe 161kV: Rebuild line
MISO | LA | 335825 | 6FANCY_PT% | 335826 | 6HORSESHOE% | 2 | 230 | 7.9 | 2021-12-01 | Proposed | BaseRel | P12105 Fancy Point to Horseshoe 230 kV: New 2nd Line | Yes
MISO | IL | 636600 | SB 39 3 | 636601 | SB 39 5 | 2 | 345/161 | n/a | 2020-06-01 | Planned | BaseRel | P2937 Sub 39: Second 345-161 kV Xfmr | Yes
MISO | MI | 256623 | 18TYLER345 |  |  |  | 345 | n/a | 2021-12-31 | Planned | BaseRel | P3921 Campbell - Tyler 345 kV | Yes
MISO | MI | 256002 | 18CAMPBL | 256623 | 18TYLER345 | 1 | 345 | 4.1 | 2021-12-31 | Planned | BaseRel | P3921 Campbell - Tyler 345 kV | Yes
MISO | MI | 256623 | 18TYLER345 | 256517 | 18TYLER | 1 | 345/138 | n/a | 2021-12-31 | Planned | BaseRel | P3921 Campbell - Tyler 345 kV | Yes
MISO | MN | 601023 | REDROCK3 | 603097 | REDROCK7 | 9 | 345/115 | n/a | 2023-06-01 | Proposed | BaseRel | P14844 Red Rock Transformer Upgrade
MISO | MO,IA | 344000 | 7ZACHARY |  |  |  | 345 |  | 2019-05-31 | Planned | MVP | P2248 Proposed MVP Portfolio 1 - Zachary - Ottumwa 345 | Yes
MISO | MO,IA | 344000 | 7ZACHARY | 631143 | OTTUMWA3 | 1 | 345 | 68,3 | 2019-05-31 | Planned | MVP | P2248 Proposed MVP Portfolio 1 - Zachary - Ottumwa 345 | Yes
MISO | SD,ND,ND | 661097 | ELLENDLMVP3 |  |  |  | 345 | n/a | 2019-02-05 | In Service | MVP | P2220 MVP Portfolio 1 - Ellendale to Big Stone South | Yes
MISO | SD,ND,ND | 661097 | ELLENDLMVP3 | 620417 | BSSOUTH3 | 1 | 345 | 163 | 2019-02-05 | In Service | MVP | P2220 MVP Portfolio 1 - Ellendale to Big Stone South | Yes
MISO | SD,ND,ND | 661098 | ELLENDLMVP4 |  |  |  | 230 | N/A | 2019-02-05 | In Service | MVP | P2220 MVP Portfolio 1 - Ellendale to Big Stone South
MISO | SD,ND,ND | 661026 | ELLENDL4 | 661098 | ELLENDLMVP4 | Z | 230 | 0 | 2019-02-05 | In Service | MVP | P2220 MVP Portfolio 1 - Ellendale to Big Stone South
MISO | SD,ND,ND | 661092 | FOXTAIL4 | 661098 | ELLENDLMVP4 | 1 | 230 | 0 | 2019-02-05 | In Service | MVP | P2220 MVP Portfolio 1 - Ellendale to Big Stone South
MISO | SD,ND,ND | 661093 | MERRCRT4 | 661098 | ELLENDLMVP4 | 1 | 230 | 29.6 | 2019-02-05 | In Service | MVP | P2220 MVP Portfolio 1 - Ellendale to Big Stone South
MISO | SD,ND,ND | 620362 | OAKES 4 | 661098 | ELLENDLMVP4 | 1 | 230 | 0 | 2019-02-05 | In Service | MVP | P2220 MVP Portfolio 1 - Ellendale to Big Stone South
MISO | MN,MB | 608410 | WARRVRN2 |  |  |  | 500 | N/A | 2020-06-01 | Planned | TDSP | P3831 Great Northern Transmission Line | Yes
MISO | MN,MB | 608411 | WARRVRM2 |  |  |  | 500 | N/A | 2020-06-01 | Planned | TDSP | P3831 Great Northern Transmission Line | Yes
MISO | MN,MB | 608412 | WARRVRS2 |  |  |  | 500 | N/A | 2020-06-01 | Planned | TDSP | P3831 Great Northern Transmission Line | Yes
MISO | MN,MB | 608422 | IRONRNG2 |  |  |  | 500 | N/A | 2020-06-01 | Planned | TDSP | P3831 Great Northern Transmission Line | Yes
MISO | MN,MB | 608423 | IRRN-RX2 |  |  |  | 500 | N/A | 2020-06-01 | Planned | TDSP | P3831 Great Northern Transmission Line | Yes
MISO | MN,MB | 608622 | IRONRNG4 |  |  |  | 230 | N/A | 2020-06-01 | Planned | TDSP | P3831 Great Northern Transmission Line | Yes
MISO | MN,MB | 667085 | G82RPHT1 |  |  |  | 230 | N/A | 2020-06-01 | Planned | TDSP | P3831 Great Northern Transmission Line | Yes
MISO | MN,MB | 608410 | WARRVRN2 | 608411 | WARRVRM2 | 1 | 500 | 0 | 2020-06-01 | Planned | TDSP | P3831 Great Northern Transmission Line | Yes
MISO | MN,MB | 608410 | WARRVRN2 | 608411 | WARRVRM2 | Z | 500 | 0 | 2020-06-01 | Planned | TDSP | P3831 Great Northern Transmission Line | Yes
MISO | MN,MB | 608410 | WARRVRN2 | 667500 | DORSEY 2 | 1 | 500 | 175 | 2020-06-01 | Planned | TDSP | P3831 Great Northern Transmission Line | Yes
MISO | MN,MB | 608411 | WARRVRM2 | 608412 | WARRVRS2 | 1 | 500 | 0 | 2020-06-01 | Planned | TDSP | P3831 Great Northern Transmission Line | Yes
MISO | MN,MB | 608411 | WARRVRM2 | 608412 | WARRVRS2 | Z | 500 | 0 | 2020-06-01 | Planned | TDSP | P3831 Great Northern Transmission Line | Yes
MISO | MN,MB | 608412 | WARRVRS2 | 608423 | IRRN-RX2 | 1 | 500 | 175 | 2020-06-01 | Planned | TDSP | P3831 Great Northern Transmission Line | Yes
MISO | MN,MB | 608422 | IRONRNG2 | 608423 | IRRN-RX2 | Z | 500 | 0 | 2020-06-01 | Planned | TDSP | P3831 Great Northern Transmission Line | Yes
MISO | MN,MB | 608614 | 98L TAP4 | 608622 | IRONRNG4 | 1 | 230 | 64.44 | 2020-06-01 | Planned | TDSP | P3831 Great Northern Transmission Line | Yes
MISO | MN,MB | 608622 | IRONRNG4 | 608624 | FORBES 4 | 1 | 230 | 33.8 | 2020-06-01 | Planned | TDSP | P3831 Great Northern Transmission Line | Yes
MISO | MN,MB | 608622 | IRONRNG4 | 608625 | BLCKBRY4 | 1 | 230 | 0.5 | 2020-06-01 | Planned | TDSP | P3831 Great Northern Transmission Line | Yes
MISO | MN,MB | 608622 | IRONRNG4 | 608625 | BLCKBRY4 | 2 | 230 | 0.5 | 2020-06-01 | Planned | TDSP | P3831 Great Northern Transmission Line | Yes
MISO | MN,MB | 608422 | IRONRNG2 | 608622 | IRONRNG4 | 1 | 500/230 | n/a | 2020-06-01 | Planned | TDSP | P3831 Great Northern Transmission Line | Yes
MISO | KY,IN | 249509 | 08DUFF | 340563 | 7COLEMAN | 1 | 345 |  | 2021-01-01 | Planned | MEP | P10142 Duff-Coleman 345 kV | Yes
MISO | LA | 335835 | 8FANCY_PT% | 335825 | 6FANCY_PT% | 2 | 500/230 | n/a | 2019-04-25 | Under Construction | BaseRel | P4606 Fancy Point: Add 2nd 500-230 kV, 1200 MVA transformer | Yes
MISO | LA | 336007 | 6VACHRE! | 336154 | 6WATFRD% | 1 | 230 | 18.5 | 2020-05-01 | Planned | BaseRel | P9285 Waterford - Vacherie 230 kV: Reconductor Line
MISO | TX | 334320 | 8CYPRESS% | 334319 | 4CYPRESS% | 2 | 500/138 | n/a | 2020-10-01 | Planned | BaseRel | P9280 Cypress 500/138 kV: New 2nd Auto | Yes
MISO | TX | 334242 | 6STOWELL! |  |  |  | 230 | n/a | 2019-05-01 | Under Construction | BaseRel | P9482 China to Stowell 230 kV: Construct New Line | Yes
MISO | TX | 334204 | 6CHINA% | 334242 | 6STOWELL! | 1 | 230 | 20 | 2019-05-01 | Under Construction | BaseRel | P9482 China to Stowell 230 kV: Construct New Line | Yes
MISO | TX | 334197 | 7ROCKYCRK% |  |  |  | 345 | n/a | 2020-06-01 | Planned | Other Economic | P10487 Western Region Economic Project(WREP): New Grimes to Lewis Creek 230 kV Line, New Grimes 345/230 kV Auto, & Newton Bulk to Leach 138 kV reconductor | Yes
MISO | TX | 334198 | 6ROCKYCRK |  |  |  | 230 | n/a | 2020-06-01 | Planned | Other Economic | P10487 Western Region Economic Project(WREP): New Grimes to Lewis Creek 230 kV Line, New Grimes 345/230 kV Auto, & Newton Bulk to Leach 138 kV reconductor | Yes
MISO | TX | 334028 | 7GRIMES% | 334197 | 7ROCKYCRK% | 1 | 345 | 14.94 | 2020-06-01 | Planned | Other Economic | P10487 Western Region Economic Project(WREP): New Grimes to Lewis Creek 230 kV Line, New Grimes 345/230 kV Auto, & Newton Bulk to Leach 138 kV reconductor | Yes
MISO | TX | 334069 | 6LEWISCREEK! | 334198 | 6ROCKYCRK | 1 | 345 | 40.96 | 2020-06-01 | Planned | Other Economic | P10487 Western Region Economic Project(WREP): New Grimes to Lewis Creek 230 kV Line, New Grimes 345/230 kV Auto, & Newton Bulk to Leach 138 kV reconductor | Yes
MISO | TX | 334197 | 7ROCKYCRK% | 509241 | CROCKET7 | 1 | 230 | 48.84 | 2020-06-01 | Planned | Other Economic | P10487 Western Region Economic Project(WREP): New Grimes to Lewis Creek 230 kV Line, New Grimes 345/230 kV Auto, & Newton Bulk to Leach 138 kV reconductor | Yes
MISO | TX | 334197 | 7ROCKYCRK% | 334198 | 6ROCKYCRK | 1 | 345/230 | n/a | 2020-06-01 | Planned | Other Economic | P10487 Western Region Economic Project(WREP): New Grimes to Lewis Creek 230 kV Line, New Grimes 345/230 kV Auto, & Newton Bulk to Leach 138 kV reconductor | Yes
MISO | IA | 631148 | MORGN VLLY 3 |  |  |  | 345 | n/a | 2021-05-01 | Planned | BaseRel | P8160 ITCM Morgan Valley-Beverly 345kV | Yes
MISO | IA | 631221 | BEVERLY 3 |  |  |  | 345 | n/a | 2021-05-01 | Planned | BaseRel | P8160 ITCM Morgan Valley-Beverly 345kV | Yes
MISO | IA | 631142 | ARNOLD 3 | 631148 | MORGN VLLY 3 | 1 | 345 | 14.14 | 2021-05-01 | Planned | BaseRel | P8160 ITCM Morgan Valley-Beverly 345kV | Yes
MISO | IA | 631148 | MORGN VLLY 3 | 631221 | BEVERLY 3 | 1 |  | 6.5 | 2021-05-01 | Planned | BaseRel | P8160 ITCM Morgan Valley-Beverly 345kV | Yes
MISO | IA | 631148 | MORGN VLLY 3 | 636420 | TIFFIN 3 | 1 |  | 17.99 | 2021-05-01 | Planned | BaseRel | P8160 ITCM Morgan Valley-Beverly 345kV | Yes
MISO | IA | 631091 | BEVERLY5 | 631221 | BEVERLY 3 | 1 | 345/161 | n/a | 2021-05-01 | Planned | BaseRel | P8160 ITCM Morgan Valley-Beverly 345kV | Yes
MISO | IA | 635870 | BEACON 5 | 635880 | PLSNT CRNR 5 | 1 | 161 | 16 | 2019-12-01 | Planned | BaseRel | P8020 Pleasant Corner-Beacon 161 kV Line & Terminal | Yes
MISO | MI | 256588 | 18MEYER |  |  |  | 345 | n/a | 2021-06-01 | Planned | BaseRel | P8144 Meyer (formerly “Hayes Street”) 345/138 kV Station | Yes
MISO | MI | 256000 | 18ARGNTA | 256588 | 18MEYER | 1 | 345 | 48.17 | 2021-06-01 | Planned | BaseRel | P8144 Meyer (formerly “Hayes Street”) 345/138 kV Station
MISO | MI | 256010 | 18KENOWA | 256588 | 18MEYER | 1 | 345 | 13.45 | 2021-06-01 | Planned | BaseRel | P8144 Meyer (formerly “Hayes Street”) 345/138 kV Station
MISO | MI | 256013 | 18LUDNGT | 256588 | 18MEYER | 1 | 345 | 78.26 | 2021-06-01 | Planned | BaseRel | P8144 Meyer (formerly “Hayes Street”) 345/138 kV Station
MISO | MI | 256024 | 18TALLMG | 256588 | 18MEYER | 1 | 345 | 1.98 | 2021-06-01 | Planned | BaseRel | P8144 Meyer (formerly “Hayes Street”) 345/138 kV Station