## summary
Draft 6/15
2030 Installed On-Shore Wind Capacity
No. of Wind Shapes: Up to Maximum of # of wind units, if wind % of demand is greater than 20% then 20 shapes; else between 1 and 999 MW of Wind, 1 Shape; 1000 and 4999 MW: 5; 5000 to 9999 MW: 10; 10000 MW and above: 20.
If EWITS data is available by Balancing Area (pending with NREL), shape calculation is made by Balancing Area within MISO and SPP.
| Scenario 1 (F8S7) | [7 empty] | Scenario 2 (F6S10) | [7 empty] | Scenario 3 (F1S17)
| Class 4+ | Class 3 | Wind | Wind | Demand | Wind%of | #Wind | No. of | Class 4+ | Class 3 | Wind | Wind | Demand | Wind%of | #Wind | No. of | Class 4+ | Class 3 | Wind | Wind | Demand | Wind%of | #Wind | No. of
NEEM Region | MW | MW | MW | TWH | TWH | Demand | Units | Shapes | MW | MW | MW | TWH | TWH | Demand | Units | Shapes | MW | MW | MW | TWH | TWH | Demand | Units | Shapes
ENT | 207 | 0 | 207 | 0.60992 | 151.89 | 0.4016% | 6 | 1 | 107 | 0 | 107 | 0.31527 | 183.87 | 0.1715% | 4 | 1 | 107 | 0 | 107 | 0.31527 | 190.15 | 0.1658% | 4 | 1
FRCC | 0 | 0 | 0 | 0 | 248.36 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 275.57 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 302.42 | 0% | 0 | 0
IESO | 3385.9 | 0 | 3385.9 | 8.4797 | 122.45 | 6.925% | 90 | 5 | 3385.9 | 0 | 3385.9 | 8.4797 | 146.15 | 5.802% | 90 | 5 | 3385.9 | 0 | 3385.9 | 8.4797 | 148.22 | 5.721% | 91 | 5
MAPP_CA | 577.4 | 0 | 577.4 | 1.4461 | 51.26 | 2.821% | 5 | 1 | 577.4 | 0 | 577.4 | 1.4461 | 61.18 | 2.364% | 5 | 1 | 577.4 | 0 | 577.4 | 1.4461 | 62.05 | 2.33% | 5 | 1
MAPP_US | 9864.63 | 0 | 9864.63 | 34.5042 | 28.63 | 120.5% | 58 | 20 | 7750.71 | 0 | 7750.71 | 27.1102 | 35.25 | 76.91% | 48 | 20 | 2491.75 | 0 | 2491.75 | 8.7156 | 34.86 | 25% | 21 | 20
MISO_IN | 535 | 10832.65 | 11367.65 | 29.3938 | 92.18 | 31.89% | 13 | 13 | 535 | 0 | 535 | 1.5531 | 112.66 | 1.379% | 2 | 1 | 535 | 0 | 535 | 1.5531 | 113.35 | 1.37% | 2 | 1
MISO_MI | 761 | 8427.15 | 9188.15 | 21.9689 | 90.45 | 24.29% | 17 | 17 | 609.64 | 2000 | 2609.64 | 6.3667 | 110.24 | 5.775% | 10 | 5 | 761 | 2000 | 2761 | 6.7735 | 110.04 | 6.155% | 11 | 5
MISO_MO-IL | 6278 | 7529.77 | 13807.77 | 39.7524 | 92.8 | 42.84% | 14 | 14 | 678 | 0 | 678 | 2.0752 | 115.53 | 1.796% | 4 | 1 | 678 | 0 | 678 | 2.0752 | 112.82 | 1.839% | 4 | 1
MISO_W | 73070.17 | 0 | 73070.17 | 241.1981 | 131.13 | 183.9% | 223 | 20 | 23246.23 | 0 | 23246.23 | 76.7337 | 168.59 | 45.51% | 160 | 20 | 14328.11 | 0 | 14328.11 | 47.2958 | 160.68 | 29.43% | 152 | 20
MISO_WUMS | 840 | 2771.35 | 3611.35 | 9.3054 | 58.35 | 15.95% | 39 | 5 | 809.2 | 719.7 | 1528.9 | 4.1096 | 72.62 | 5.659% | 25 | 5 | 809.2 | 719.7 | 1528.9 | 4.1096 | 78.28 | 5.25% | 24 | 5
NE | 15721.68 | 0 | 15721.68 | 55.7901 | 30.37 | 183.7% | 59 | 20 | 2487.92 | 0 | 2487.92 | 8.8287 | 41.26 | 21.4% | 11 | 11 | 344 | 0 | 344 | 1.2207 | 37.45 | 3.26% | 6 | 1
NEISO | 5483 | 0 | 5483 | 16.2052 | 103.8 | 15.61% | 34 | 10 | 4598.58 | 0 | 4598.58 | 13.5913 | 132.78 | 10.24% | 28 | 5 | 5483 | 0 | 5483 | 16.2052 | 130.06 | 12.46% | 34 | 10
NonRTO_Midwest | 66 | 0 | 66 | 0.15143 | 57.82 | 0.2619% | 0 | 0 | 66 | 0 | 66 | 0.15143 | 68.12 | 0.2223% | 0 | 0 | 66 | 0 | 66 | 0.15143 | 70.78 | 0.2139% | 0 | 0
NYISO_A-F | 2123 | 5270.59 | 7393.59 | 19.135 | 54.83 | 34.9% | 202 | 20 | 2123 | 2346.1 | 4469.1 | 11.9337 | 64.05 | 18.63% | 187 | 5 | 2123 | 2710.46 | 4833.46 | 12.8309 | 67.76 | 18.94% | 189 | 5
NYISO_G-I | 60 | 231.72 | 291.72 | 0.74343 | 17.61 | 4.222% | 1 | 1 | 60 | 0 | 60 | 0.17823 | 19.94 | 0.8938% | 1 | 1 | 60 | 0 | 60 | 0.17823 | 21.53 | 0.8278% | 1 | 1
NYISO_J-K | 0 | 0 | 0 | 0 | 67.62 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 77.47 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 82.85 | 0% | 0 | 0
PJM_E | 460 | 700 | 1160 | 2.1434 | 108.19 | 1.981% | 10 | 5 | 480 | 700 | 1180 | 2.1832 | 131.18 | 1.664% | 8 | 5 | 460 | 700 | 1160 | 2.1434 | 132.88 | 1.613% | 8 | 5
PJM_ROM | 1961 | 0 | 1961 | 4.9107 | 135.16 | 3.633% | 82 | 5 | 1961 | 5810 | 7771 | 17.2261 | 164.06 | 10.5% | 97 | 10 | 1961 | 5810 | 7771 | 17.2261 | 166.31 | 10.36% | 97 | 10
PJM_ROR | 5797 | 8712.24 | 14509.24 | 36.6829 | 467.51 | 7.846% | 238 | 20 | 5797 | 50400 | 56197 | 134.9314 | 536.42 | 25.15% | 243 | 20 | 5797 | 5317.4 | 11114.4 | 28.682 | 572.72 | 5.008% | 208 | 20
SOCO | 0 | 0 | 0 | 0 | 259.62 | 0% | 0 | 0 | 0 | 100 | 100 | 0.20915 | 303.39 | 0.06894% | 1 | 1 | 0 | 0 | 0 | 0 | 321.38 | 0% | 0 | 0
SPP_N | 42910.01 | 0 | 42910.01 | 146.5215 | 76.45 | 191.7% | 151 | 20 | 11951.27 | 0 | 11951.27 | 41.0403 | 97.82 | 41.95% | 47 | 20 | 1498.56 | 0 | 1498.56 | 5.146 | 92.74 | 5.549% | 12 | 5
SPP_S | 43393.94 | 0 | 43393.94 | 147.0932 | 154.39 | 95.27% | 190 | 20 | 26372.74 | 0 | 26372.74 | 90.9511 | 195.45 | 46.53% | 116 | 20 | 5582.5 | 0 | 5582.5 | 19.2523 | 193.65 | 9.942% | 50 | 10
TVA | 29 | 0 | 29 | 0.07394 | 162.64 | 0.04546% | 1 | 1 | 29 | 100 | 129 | 0.28309 | 199.35 | 0.142% | 2 | 1 | 29 | 0 | 29 | 0.07394 | 198.83 | 0.03719% | 1 | 1
VACAR | 700 | 2800 | 3500 | 7.867 | 244.08 | 3.223% | 4 | 4 | 700 | 2800 | 3500 | 7.867 | 295.84 | 2.659% | 5 | 5 | 700 | 2800 | 3500 | 7.867 | 300.33 | 2.619% | 4 | 4
Total | 214223.73 | 47275.47 | 261499.2 | 823.9765 | 3007.59 | 27.4% | 1437 |  | 94325.59 | 64975.8 | 159301.39 | 457.5642 | 3608.79 | 12.68% | 1094 |  | 47777.42 | 20057.56 | 67834.98 | 191.741 | 3702.14 | 5.179% | 924
| Class 4+ | Class 3 | Wind | Wind | Demand | Wind%of | #Wind |  | Class 4+ | Class 3 | Wind | Wind | Demand | Wind%of | #Wind |  | Class 4+ | Class 3 | Wind | Wind | Demand | Wind%of | #Wind
CommitmentPool | MW | MW | MW | TWH | TWH | Demand | Units |  | MW | MW | MW | TWH | TWH | Demand | Units |  | MW | MW | MW | TWH | TWH | Demand | Units
FRCC | 0 | 0 | 0 | 0 | 248.36 | 0% | 0 |  | 0 | 0 | 0 | 0 | 275.57 | 0% | 0 |  | 0 | 0 | 0 | 0 | 302.42 | 0% | 0
IESO | 3385.9 | 0 | 3385.9 | 8.4797 | 122.45 | 6.925% | 90 |  | 3385.9 | 0 | 3385.9 | 8.4797 | 146.15 | 5.802% | 90 |  | 3385.9 | 0 | 3385.9 | 8.4797 | 148.22 | 5.721% | 91
MISO | 91926.2 | 29560.92 | 121487.12 | 377.5689 | 544.8 | 69.3% | 369 |  | 34206.18 | 2719.7 | 36925.88 | 119.3945 | 676.07 | 17.66% | 254 |  | 20180.46 | 2719.7 | 22900.16 | 71.9688 | 672.08 | 10.71% | 219
NEISO | 5483 | 0 | 5483 | 16.2052 | 103.8 | 15.61% | 34 |  | 4598.58 | 0 | 4598.58 | 13.5913 | 132.78 | 10.24% | 28 |  | 5483 | 0 | 5483 | 16.2052 | 130.06 | 12.46% | 34
NYISO | 2183 | 5502.31 | 7685.31 | 19.8785 | 140.06 | 14.19% | 203 |  | 2183 | 2346.1 | 4529.1 | 12.1119 | 161.46 | 7.501% | 188 |  | 2183 | 2710.46 | 4893.46 | 13.0091 | 172.14 | 7.557% | 190
PJM | 8218 | 9412.24 | 17630.24 | 43.737 | 710.86 | 6.153% | 330 |  | 8238 | 56910 | 65148 | 154.3407 | 831.66 | 18.56% | 348 |  | 8218 | 11827.4 | 20045.4 | 48.0515 | 871.91 | 5.511% | 313
SOCO | 0 | 0 | 0 | 0 | 259.62 | 0% | 0 |  | 0 | 100 | 100 | 0.20915 | 303.39 | 0.06894% | 1 |  | 0 | 0 | 0 | 0 | 321.38 | 0% | 0
SPP-ENT | 102232.63 | 0 | 102232.63 | 350.0148 | 413.1 | 84.73% | 406 |  | 40918.93 | 0 | 40918.93 | 141.1354 | 518.4 | 27.23% | 178 |  | 7532.06 | 0 | 7532.06 | 25.9343 | 513.99 | 5.046% | 72
TVA | 95 | 0 | 95 | 0.22537 | 220.46 | 0.1022% | 1 |  | 95 | 100 | 195 | 0.43452 | 267.47 | 0.1625% | 2 |  | 95 | 0 | 95 | 0.22537 | 269.61 | 0.08359% | 1
VACAR | 700 | 2800 | 3500 | 7.867 | 244.08 | 3.223% | 4 |  | 700 | 2800 | 3500 | 7.867 | 295.84 | 2.659% | 5 |  | 700 | 2800 | 3500 | 7.867 | 300.33 | 2.619% | 4
| 214223.73 | 47275.47 | 261499.2 | 823.9765 | 3007.59 | 27.4% | 1437 |  | 94325.59 | 64975.8 | 159301.39 | 457.5642 | 3608.79 | 12.68% | 1094 |  | 47777.42 | 20057.56 | 67834.98 | 191.741 | 3702.14 | 5.179% | 924
Take EWITS sites by region, divide randomly into groups per # of shapes above. Determine average hourly wind shape for each group. Normalize each shape to Phase I annual capacity factor, separately for Class 4+ and Class 3.
For each region, randomly assign shapes to individual wind units in GE MAPS such that Class 4+ and Class 3 total MW in total match Phase I Class 3 and 4+ split and match total wind build (subject to rounding).
Example MISO_W random stratification into 20 shapes. Simple average across 8760 hours of hourly mean, minimum, 25th percentile, median, 75th percentile, maximum, and standard deviation across the 20 groups:
| Mean | Min | 25th | Medn | 75th | Max | StDev
MISO_W - 20 | 38% | 28.96% | 34.69% | 37.91% | 41.2% | 47.61% | 4.911% | <-- With shapes normalized to Class 4+ annual capacity factor in MISO_W of 38%.